## 30 MeV
Target material | Energy (keV) | Comment | Seen in spectrum
nat Ni | 1396 | antagelig fed by både 24Na og 55Co, reject den
nat Ni | 2740 | vanlig escaped peak, vet ikke hva den er
nat Ni | 2751 | bryr oss ikke om den
nat Ti | 187 | might be lead from U235 decay
nat Ti | 238 | might be lead from U235 decay
nat Ti | 609 | 241Bi fra thoriumkjeden
nat Ti | 984 | skal ignoreres dersom 48Sc er sett i spekteret og inkluderes dersom man ikke ser 48Sc fordi de er shared peaks så vanskelig å si hva som gir aktivitet når begge finnes. Sjekk at de andre toppene til Sc48 er der, og hvis de ikke finnes kommer denne toppen kun fra 48V og burde fittes
nat Ti | 1120 | 214Bi fra thoriumkjeden
nat Ti | 1313 | skal ignoreres dersom 48Sc er sett i spekteret og inkluderes dersom man ikke ser 48Sc fordi de er shared peaks så vanskelig å si hva som gir aktivitet når begge finnes. Sjekk at de andre toppene til Sc48 er der, og hvis de ikke finnes kommer denne toppen
nat Ti | 1460 | 40K
nat Ti | 1494 | Andrew har sett den før, gjetter på bakgrunn, men vet ikke
nat Ti | 1822 | Andrew har sett den før, men vet ikke hva det er
nat Ti | 2296 | Andrew har sett den før, men vet ikke hva det er
nat Ti | 2614 | Sett i bakgrunnen før, vet ikke hva den er
nat Zr | 219 | don't know, small | BT_Zr03, BI_Zr04 | Spectrum | Date | Live time
nat Zr | 236 | don't know, small, might be 95NBm | CH_Zr03, CR_Zr04 | BA_Zr01 | 02/13/2017 20:36:19 | 477
nat Zr | 241 | don't know, small, 239 is seen in backgound spectrum | BT_Zr03, BI_Zr04 | BP_Zr01 | 02/15/2017 10:39:20 | 1881
nat Zr | 350 | don't know, small | BI_Zr04 | BX_Zr01 | 02/17/2017 18:18:04 | 146580
nat Zr | 353 | don't know, small, seen in background spectrum | BI_Zr04 | BR_Zr02 | 02/15/2017 19:13:49 | 7499
nat Zr | 356 | don't know, small | BI_Zr04 | BT_Zr03 | 02/16/2017 10:32:30 | 6432
nat Zr | 372 | 96Nb | BI_Zr04 | CH_Zr03 | 02/24/2017 17:15:35 | 137373
nat Zr | 460 | 96Nb | BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03, BI_Zr04 | BI_Zr04 | 02/14/2017 08:49:21 | 8898
nat Zr | 481 | 96Nb | BT_Zr03, BI_Zr04 | CR_Zr04 | 03/03/2017 19:04:25 . | 225399
nat Zr | 569 | small, not small for BI_Zr04, might be 96Nb, burde vært mindre intens enn 778 | BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03, BI_Zr04 | AX_Zr05 | 02/13/2017 15:07:40 | 300
nat Zr | 652 | sum peak (511 + 141 fra 90Nb) | BA_Zr01, BP_Zr01, BR_Zr02, BT_Zr03 | BS_Zr05 | 02/15/2017 21:24:54 | 36000
nat Zr | 658 | don't know, small, not small for BI_Zr04, kanskje 89Nb, men gir ikke mening at den er størst i BI | BA_Zr01, BP_Zr01, BR_Zr02, BT_Zr03, BI_Zr04 | EOB: | 02/13/2017 14:27:00
nat Zr | 720 | small, 96Nb | BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 724 | don't know, small, might be 95Zr | BX_Zr01, BR_Zr02, BT_Zr03, CH_Zr03, BI_Zr04, CR_Zr04
nat Zr | 744 | don't know, small, not small for BI_Zr04 | BA_Zr01, BP_Zr01, BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 757 | don't know, small, not small for BI_Zr05 and CR_Zr04, might be 95Zr, 90Nb or 89Nb, men burde være langlivet så 95Zr | BX_Zr01, BR_Zr02, BT_Zr03, CH_Zr03, BI_Zr04, CR_Zr04
nat Zr | 766 | don't know, might be 95Nb | CH_Zr03, BI_Zr04, CR_Zr04
nat Zr | 778 | small, 96Nb | BA_Zr01, BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 810 | small, not small for BI_Zr05 might be 96Nb | BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 850 | small, not small for BI_Zr05, 96Nb | BX_Zr01, BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 898 | 88Y | BX_Zr01, CH_Zr03, CR_Zr04
nat Zr | 935 | don't know, small | BA_Zr01
nat Zr | 951 | don't know | CH_Zr03
nat Zr | 1015 | don't know, 27Mg from Al frames | AX_Zr05
nat Zr | 1092 | 96Nb | BP_Zr01, BX_Zr01, BT_Zr03, CH_Zr03, BI_Zr04
nat Zr | 1149 | don't know | BI_Zr04
nat Zr | 1164 | double escaped from 2186 from 90Nb | BA_Zr01, BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03
nat Zr | 1200 | small, 96Nb | BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03, BI_Zr04
nat Zr | 1205 | don't know, small, might be 91NBm | BX_Zr01
nat Zr | 1239 | don't know, small | CH_Zr03
nat Zr | 1275 | don't know | BX_Zr01
nat Zr | 1296 | double escaped from 2318 from 90Nb | BA_Zr01, BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03
nat Zr | 1362 | don't know, small | BI_Zr04
nat Zr | 1369 | 24Na | BI_Zr04, AX_Zr05
nat Zr | 1441 | don't know, small | BI_Zr04
nat Zr | 1498 | small, 96Nb | BT_Zr03, BI_Zr04
nat Zr | 1640 | don't know, small | BA_Zr01, BR_Zr02
nat Zr | 1657 | don't know, small | BA_Zr01
nat Zr | 1675 | single escaped from 2186 from 90Nb | BA_Zr01, BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03
nat Zr | 1730 | don't know | AX_Zr05
nat Zr | 1750 | don't know, small | BI_Zr04
nat Zr | 1807 | single escaped from 2318 from 90Nb | BA_Zr01, BP_Zr01, BX_Zr01, BR_Zr02, BT_Zr03
nat Zr | 2241 | don't know, small | AX_Zr05
nat Zr | 2612 | don't know, small, could this be the same as 2614 seen in background before? | CH_Zr03
nat Zr | 2616 | don't know, small, could this be the same as 2614 seen in background before? | CR_Zr04
nat Zr | 2751 | 24Na (2754) | AX_Zr05

## 50 MeV
Target material | Energy (keV) | Comment | Seen in spectrum | Spectrum | Date | Live time
nat Zr | 478 |  | CN_Zr09, CV02_Zr10, CV08_Zr10 | AJ_Zr06 | 02/12/2017 21:54:20. | 600
nat Zr | 556 |  | AJ_Zr06, AI_Zr07, AH_Zr08, AG_Zr09, AF_Zr10 | AL_Zr06 | 02/13/2017 08:05:57 | 544
nat Zr | 652 | sum peak (511 + 141 fra 90Nb) | AW_Zr10 and more | BQ_Zr06 | 02/15/2017 11:16:48 | 6006
nat Zr | 658 | small | AJ_Zr06, AI_Zr07, AH_Zr08, AG_Zr09, AV_Zr09, AF_Zr10, AW_Zr10 | CA_Zr06 | 02/19/2017 16:34:24 | 147702
nat Zr | 744 | small | AW_Zr10 | AI_Zr07 | 02/12/2017 21:39:09. | 600
nat Zr | 950 | small | CB_Zr07, CN_Zr09 | AO_Zr07 | 02/13/2017 08:51:14 | 1801
nat Zr | 1077 | most intensive peak of 86Y, but it is more than 10 half lives after EOB | CA_Zr06 | AS_Zr07 | 02/13/2017 12:27:15 | 829
nat Zr | 1164 | double escaped from 2186 from 90Nb | AL_Zr06, BQ_Zr06, AO_Zr07, AS_Zr07, AU_Zr08, AV_Zr09, AW_Zr10 | CB_Zr07 | 02/21/2017 09:51:10 | 84806
nat Zr | 1275 | small, not small for CV02 | CA_Zr06, CB_Zr07, CD_Zr08, CN_Zr09, CV02_Zr10, CV08_Zr10 | AH_Zr08 | 02/12/2017 21:26:24. | 600
nat Zr | 1296 | double escaped from 2318 from 90Nb | AJ_Zr06, AL_Zr06, BQ_Zr06, AI_Zr07, AO_Zr07, AS_Zr07, AH_Zr08, AU_Zr08, AG_Zr09, AV_Zr09, AF_Zr10, AW_Zr10 | AU_Zr08 | 02/13/2017 12:44:06 | 853
nat Zr | 1324 | small | CA_Zr06, CB_Zr07 | CD_Zr08 | 02/22/2017 17:47:49 | 61707
nat Zr | 1640 | small | AW_Zr10 | AG_Zr09 | 02/12/2017 21:05:31. | 600
nat Zr | 1675 | single escaped from 2186 from 90Nb | BQ_Zr06, AO_Zr07, AS_Zr07, AU_Zr08, AV_Zr09, AF_Zr10, AW_Zr10 | AV_Zr09 | 02/13/2017 13:01:27 | 1424
nat Zr | 1730 | small | BQ_Zr06, AS_Zr07, AU_Zr08, AV_Zr09 | CN_Zr09 | 03/01/2017 17:41:55. | 66039
nat Zr | 1807 | single escaped from 2318 from 90Nb | AJ_Zr06, BQ_Zr06, AI_Zr07, AO_Zr07, AS_Zr07, AH_Zr08, AU_Zr08, AG_Zr09, AV_Zr09, AF_Zr10, AW_Zr10 | AF_Zr10 | 02/12/2017 20:51:39. | 600
nat Zr | 2242 |  | AL_Zr06, BQ_Zr06, AO_Zr07, AS_Zr07, AU_Zr08, AV_Zr09, AW_Zr10 | AW_Zr10 | 02/13/2017 13:37:52 | 4257
nat Zr | 2611 |  | CA_Zr06, AI_Zr07, CB_Zr07, CD_Zr08 | CV02_Zr10 | 03/06/2017 19:50:56. | 50844
|  |  |  | CV08_Zr10 | 03/07/2017 15:44:52. | 137447
|  |  |  | EOB: | 02/12/2017 19:21:00.